## Slide 1: EEE 414- Electrical Service Design
Final Project Demonstration
Title: 2-unit, 9 storied Apartment
design modelling in Auto-cad
Presented by-
1806099--- Mahin Shariar
1806101--- Niaz Mahmud
1806102--- Soumik Shanto
1806105--- Ihzaz Abrar Sadik
1806107--- Priya Acharjee
1806125--- Arnab Nath
Group---01
Level---4, Term---02

## Slide 2: Outline
Nutshell
Introduction
Floor Plan & Layout
Fittings & Conduits Layout
Distribution Systems
Emergency Distribution Systems
Analysis and Evaluation
References

## Slide 3: 1. Nutshell
Our project is about the distribution of environments in 2-unit apartment 9-storied building floor plan designs (3400 sq ft) that have been generated in 2D for better visualization in Auto-cad Software. This is a replica model that can be implemented with some advanced modifications to build a home in real life.

## Slide 4: 2. Introduction
We were instructed to model a 9 storied building having 2 units. Each unit covers not less then 3400 sq feet. Also, an instruction was to implement a parking & a basement having enough space for 18 cars. An elevator is also installed to ensure the ease of going any apartment without any time delay. Necessary safety managements have also been taken to ensure public safety.

## Slide 5: 2.1 Complexity Analysis
Our plan is having an area of . So, we had gone through some difficulties about putting the essential components along with the lift & enough free space in this limited area. This was the only complexity we have had.

## Slide 6: 3.1 Design---First floor plan
We have 2 units i.e. 2 apartments in each floor.
Every apartment consists of –
a. 1 Master Bedrooms (100 sq. feet to 135 sq. feet)
b. 2 Bedroom (100 sq. feet)
c. 1 Living Room (182 sq. feet)
d. 1 Dinning Space
e. 1 Kitchen
f. 3 Toilets
g. Free space as in Veranda
Also, a lift is installed in every floor.

## Slide 7: First floor layout
M. Bedroom
Bedroom
Living Room
Dinning Space
Bedroom
Kitchen
Toilet
Toilet
Toilet
Veranda
Veranda
Store
Veranda
Veranda
LIFT
Staircase

## Slide 8: 3.2 Design---Ground Floor Plan
Our ground floor contains –
a. 1 Guard Room (38 sq. feet)
b. 1 Meter Room (45 sq. feet)
c. 1 Toilet (23 sq. feet)
d. Parking area
e. Ramp
Also, a lift is installed in Ground floor.

## Slide 9: Ground floor layout
Ramp
LIFT
Staircase
Guard’s Room
Toilet
Meter Room
Parking area

## Slide 10: 3.3 Design---Basement Plan
Our basement contains –
a. Parking area
b. Ramp
c. Lift

## Slide 11: Basement Plan
LIFT
Ramp

## Slide 12: 3.4 Design---Roof Plan
Our Roof contains –
a. Lightning arrester (4 in 4 corners)
b. Staircase & Lift
c. Air spikes

## Slide 13: Roof Layout
LIFT
Stair-case
Lightning Arrester

## Slide 14: 4.1 First Floor with Fittings & Conduits

## Slide 15: 4.2 Ground Floor with Fittings & Conduits

## Slide 16: 4.3 Basement with Fittings & Conduits

## Slide 17: 4.4 Roof with Fittings & Conduits

## Slide 18: 5.1 Distribution Systems
First Floor

## Slide 19: 5.2 Distribution Systems
Ground Floor

## Slide 20: 5.3 Distribution Systems
Basement

## Slide 21: 6. Emergency distribution Systems
First Floor
Ground Floor

## Slide 22: Distribution Systems
First Floor

## Slide 23: Sample Calculations
Master Bedroom:
Area = 12’-8” x 10’-8”
= 135.111 ft2
= 12.5522 m2
Let, Standard Luminance of the bedroom = 150 lux
Loss factor, LLf = 0.9 (assumed)
Utilization factor = 0.5 (as the bulb will be connected to wall)
We will use a 15W bulb which has standard luminance of 1500 lux
So, Bulb needed = =
= 2.7893
So, we will use 2 pcs of 15W LED bulbs and 1 pc of 10W ceiling light bulbs.
Fan needed = = 1.3511
So, 1 fan is needed.

## Slide 24
For ESB1
As L1 ,L2 are fluorescent LED
P = (15+15) = 30W
I = = 0.1948 A
So, 2x1.5 rm BYM + 1.5 BYA ECC are used
For ESB2
As L3 ,L4 are fluorescent LED
P = (15+15) = 30W
I = = 0.1948 A
So, 2x1.5 rm BYM + 1.5 BYA ECC are used

## Slide 25
1st Floor (SDB Calc.)
SDB1
Total Load = SB2+ SB3+ SB5+ SB7
= (235+535+280+295) W
= 1345 W
SDB Load = 1345 = 4541.5 W
SDB Current =A = 29.49 A
So, 40A MCCB is needed from SDB to MDB.

## Slide 26: 6.1 Individual Contribution of Each Member
1806099: Ground Floor, Basement, Roof layout
1806101: Dimension labelling, Calculations
1806102: Ground Floor & First Floor electrical works & First Floor’s calculations
1806105: First Floor layout + All floor’s electrical work + Project report
1806107: SDB & ESDB Calculations, PPT design, Conduit calculations, Ground Floor Layout
1806125: Roof layout & Dimension labeling

## Slide 27: 7. References